## initial
clause | type | display.prompt.text | comments
do section survey
goto _finalize |  |  | skips the finalize screen where the user chooses to save as incomplete or finalized and instead saves as finalized

## survey
clause | condition | type | values_list | name | display.prompt.text | display.hint.text | hideInContents | required
|  | select_one_with_other | component_type | component_failure | 1. Which type of component has failed or has caused the performance issue? |  |  |  | TRUE
if | selected(data('component_failure'),'structural _components')
|  | select_one_with_other | component_structural | component_structural | 2. Select non-failure component?
end if
if | selected(data('component_failure'),'electrical_system')
|  | select_one_with_other | component_electrical | component_electrical | 2. Select non-failure component?
end if
if | selected(data('component_failure'),'electric_system_solar')
|  | select_one_with_other | component_electrical_solar | component_electrical_solar | 2. Select non-failure component?
end if
if | selected(data('component_failure'),'cooling_system')
|  | select_one_with_other | component_cooling | component_cooling | 2. Select non-failure component?
end if
|  | string |  | concern | 3. Enter non-failure concern |  |  | TRUE
|  | image |  | component_non_failure_image | 4. Upload Image to support your observation
|  | string |  | observations | 5. Additional context or observations

## choices
choice_list_name | data_value | display.title.text
component | Appliance | Appliance
component | Basket | Basket
component | Battery | Battery
component | Battery terminal | Battery terminal
component | Battery voltmeter | Battery voltmeter
component | Burner/Boiler | Burner/Boiler
component | Cabinet | Cabinet
component | Capacitor | Capacitor
component | Capillary tube | Capillary tube
component | Circuit breaker | Circuit breaker
component | Combiner | Combiner
component | Compressor | Compressor
component | Compressor electronic unit | Compressor electronic unit
component | Condenser | Condenser
component | Control panel | Control panel
component | Coupler system | Coupler system
component | Display | Display
component | Door | Door
component | Drier | Drier
component | Energy harvest control | Energy harvest control
component | Evaporator | Evaporator
component | Fan | Fan
component | Firmware | Firmware
component | Flue | Flue
component | Flue baffle | Flue baffle
component | Freezer compartment | Freezer compartment
component | Fuse | Fuse
component | Gasket | Gasket
component | Handle | Handle
component | Heater | Heater
component | Hinge | Hinge
component | Hinge cover | Hinge cover
component | Holdover gauge | Holdover gauge
component | Indicator light | Indicator light
component | Interconnect (electrical) | Interconnect (electrical)
component | Lamp (absorption) | Lamp (absorption)
component | Lid | Lid
component | Monitoring device | Monitoring device
component | Mounting hardware | Mounting hardware
component | On/Off switch | On/Off switch
component | Phase change material (PCM) | Phase change material (PCM)
component | Piping | Piping
component | Power adapter | Power adapter
component | Power cable | Power cable
component | Power cable connector | Power cable connector
component | Remote temperature monitoring device (RTMD) | Remote temperature monitoring device (RTMD)
component | Refrigerant | Refrigerant
component | Removable insulation | Removable insulation
component | Safety valve | Safety valve
component | Seal (sealant) | Seal (sealant)
component | Sensor | Sensor
component | SD card | SD card
component | Shelf | Shelf
component | SIM card | SIM card
component | Software | Software
component | Solar array | Solar array
component | Solar array cable | Solar array cable
component | Solar cell | Solar cell
component | Solar module | Solar module
component | Solar support structure | Solar support structure
component | Solar power system | Solar power system
component | Starter relay | Starter relay
component | Status indicator - Audible alarm | Status indicator - Audible alarm
component | Status indicator - Autonomy gauge | Status indicator - Autonomy gauge
component | Status indicator - Door opening | Status indicator - Door opening
component | Status indicator - Holdover gauge | Status indicator - Holdover gauge
component | Status indicator - LED | Status indicator - LED
component | Status indicator - Voltage | Status indicator - Voltage
component | Theft deterrent fastener | Theft deterrent fastener
component | Thermal storage | Thermal storage
component | Thermocouple | Thermocouple
component | Thermometer | Thermometer
component | Thermostat | Thermostat
component | Thermostat control card | Thermostat control card
component | Thermostat sensor lead | Thermostat sensor lead
component | Thermostat wiring | Thermostat wiring
component | 30-DTR | 30-DTR
component | Transformer | Transformer
component | Ventilation grill | Ventilation grill
component | Voltage stabilizer | Voltage stabilizer
component | Water pack | Water pack
component | Wicks | Wicks
component | Wiring | Wiring
component | Wiring connections | Wiring connections
component | Wiring terminals | Wiring terminals
component | Vaccine storage compartment | Vaccine storage compartment
component | N/A | N/A
component | Unknown | Unknown
failure_cause_1 | Break | Break
failure_cause_1 | Build quality | Build quality
failure_cause_1 | Corrosion | Corrosion
failure_cause_1 | Damage | Damage
failure_cause_1 | Degradation | Degradation
failure_cause_1 | Disintegration | Disintegration
failure_cause_1 | Hot spot | Hot spot
failure_cause_1 | Incomplete | Incomplete
failure_cause_1 | Insufficient capacity | Insufficient capacity
failure_cause_1 | Lack of maintenance | Lack of maintenance
failure_cause_1 | Leak | Leak
failure_cause_1 | Missing | Missing
failure_cause_1 | Misplacement | Misplacement
failure_cause_1 | Open circuit | Open circuit
failure_cause_1 | Orientation | Orientation
failure_cause_1 | Outage | Outage
failure_cause_1 | Power quality | Power quality
failure_cause_1 | Power tampering | Power tampering
failure_cause_1 | Shading | Shading
failure_cause_1 | Short circuit | Short circuit
failure_cause_1 | Soiling | Soiling
failure_cause_1 | Tampering | Tampering
failure_cause_1 | Unauthorized use | Unauthorized use
failure_cause_1 | Ultraviolet degradation | Ultraviolet degradation
failure_cause_1 | Voltage (low) | Voltage (low)
failure_cause_1 | Environmental | Environmental
failure_cause_1 | Unknown | Unknown
failure_cause_2 | Abuse | Abuse
failure_cause_2 | Factory concealed | Factory concealed
failure_cause_2 | Factory observable | Factory observable
failure_cause_2 | Impact | Impact
failure_cause_2 | Insect | Insect
failure_cause_2 | Installation | Installation
failure_cause_2 | Misuse | Misuse
failure_cause_2 | Rodent | Rodent
failure_cause_2 | Shipping handling | Shipping handling
failure_cause_2 | Shipping sea freight | Shipping sea freight
failure_cause_2 | Shipping trucking | Shipping trucking
failure_cause_2 | Shipping storage | Shipping storage
failure_cause_2 | Sunlight | Sunlight
failure_cause_2 | Water | Water
failure_cause_2 | Unknown | Unknown
component_type | structural _components | Structural components
component_type | electrical_system | Electrical system
component_type | electric_system_solar | Electrical system (solar specific)
component_type | cooling_system | Cooling system
component_structural | basket | Basket
component_structural | cabinet | Cabinet
component_structural | door | Door
component_structural | flue | Flue
component_structural | flue_baffle | Flue Baffle
component_structural | freezer_compartment | Freezer Compartment
component_structural | gasket | Gasket
component_structural | handle | Handle
component_structural | hinge | Hinge
component_structural | hinge_cover | Hinge Cover
component_structural | lid | Lid
component_structural | mounting_hardware | Mounting Hardware
component_structural | phase_change_material | Phase Change Material (PCM)
component_structural | piping | Piping
component_structural | removable_insulation | Removable Insulation
component_structural | safety_valve | Safety Valve
component_structural | seal | Seal (Sealant)
component_structural | shelf | Shelf
component_structural | theft_deterrent_fastener | Theft Deterrent Fastener
component_structural | thermal_storage | Thermal Storage
component_structural | ventilation_grill | Ventilation Grill
component_structural | water_pack | Water Pack
component_electrical_solar | combiner | Combiner
component_electrical_solar | coupler_system | Coupler System
component_electrical_solar | solar_array | Solar Array
component_electrical_solar | solar_array_cable | Solar Array Cable
component_electrical_solar | solar_cell | Solar Cell
component_electrical_solar | solar_module | Solar Module
component_electrical_solar | solar_support_structure | Solar Support Structure
component_electrical_solar | solar_power_system | Solar Power System
component_cooling | burner/boiler | Burner/Boiler
component_cooling | capillary_tube | Capillary Tube
component_cooling | compressor | Compressor
component_cooling | condenser | Condenser
component_cooling | drier | Drier
component_cooling | evaporator | Evaporator
component_cooling | lamp | Lamp (Absorption)
component_cooling | refrigerant | Refrigerant
component_cooling | wicks | Wicks
component_cooling | compressor_electronic_unit | Compressor Electronic Unit
component_cooling | fan | Fan
component_cooling | thermometer | Thermometer
component_cooling | thermostat | Thermostat
component_cooling | thermostat_control_card | Thermostat Control Card
component_cooling | thermostat_sensor_lead | Thermostat Sensor Lead
component_cooling | thermostat_wiring | Thermostat Wiring
component_electrical | battery | Battery
component_electrical | battery_terminal | Battery Terminal
component_electrical | battery_voltmeter | Battery Voltmeter
component_electrical | capacitor | Capacitor
component_electrical | circuit_breaker | Circuit Breaker
component_electrical | control_panel | Control Panel
component_electrical | display | Display
component_electrical | energy_harvest_control | Energy Harvest Control
component_electrical | firmware | Firmware
component_electrical | fuse | Fuse
component_electrical | heater | Heater
component_electrical | holdover_gauge | Holdover Gauge
component_electrical | indicator_light | Indicator Light
component_electrical | interconnect | Interconnect (Electrical)
component_electrical | monitoring_device | Monitoring Device
component_electrical | on/off_switch | On/Off Switch
component_electrical | power_adapter | Power Adapter
component_electrical | power_cable | Power Cable
component_electrical | power_cable_connector | Power Cable Connector
component_electrical | remote_temperature_monitoring_device | Remote Temperature Monitoring Device (RTMD)
component_electrical | sensor | Sensor
component_electrical | SD_card | SD Card
component_electrical | SIM_card | SIM Card
component_electrical | software | Software
component_electrical | starter_relay | Starter Relay
component_electrical | status_indicator_audible_alarm | Status Indicator - Audible Alarm
component_electrical | status_indicator_autonomy_gauge | Status Indicator - Autonomy Gauge
component_electrical | status_indicator_door_opening | Status Indicator - Door Opening
component_electrical | status_indicator_holdover_gauge | Status Indicator - Holdover Gauge
component_electrical | status_indicator_LED | Status Indicator - LED
component_electrical | status_indicator_voltage | Status Indicator - Voltage
component_electrical | thermocouple | Thermocouple
component_electrical | 30-DTR | 30-Dtr
component_electrical | transformer | Transformer
component_electrical | voltage_stabilizer | Voltage Stabilizer
component_electrical | wiring | Wiring
component_electrical | wiring_connections | Wiring Connections
component_electrical | wiring_terminals | Wiring Terminals
component_electrical | compressor_electronic_unit | Compressor Electronic Unit
component_electrical | fan | Fan
component_electrical | thermometer | Thermometer
component_electrical | thermostat | Thermostat
component_electrical | thermostat_control_card | Thermostat Control Card
component_electrical | thermostat_sensor_lead | Thermostat Sensor Lead
component_electrical | thermostat_wiring | Thermostat Wiring

## settings
setting_name | value | display.title.text
form_id | non_failure_observations
form_version | 20210930
table_id | non_failure_observations
survey |  | Non Failure Observations
instance_name | component_non_failure

## model
name | type
tfa_uuid | text