## initial
clause | type | display.text | comments
do section survey
goto _finalize |  |  | skips the finalize screen where the user chooses to save as incomplete or finalized and instead saves as finalized

## survey
clause | condition | type | values_list | name | display.prompt.text | display.prompt.text.es | display.prompt.text.fr | display.hint.text | display.hint.text.es | display.hint.text.fr | required | calculation | constraint | display.constraint_message.text | display.constraint_message.text.fr | _screen
begin screen
if | data('refrigerator_id') === null ¦¦ data('refrigerator_id') === undefined
|  | string |  | refrigerator_id | Refrigerator ID | ID de Frigorífico | ID de réfrigérateur | Enter the ID of the refrigerator | Por favor entre el ID del frigorífico |  | TRUE
end if
|  | note |  |  | <h2 style="font-family: Arial, sans-serif; color: #2c3e50;">CCE Identification</h2> <table style="border-collapse: collapse; width: 100%; font-family: Arial, sans-serif;"> <tr style="background-color: #f2f2f2;"> <th style="border: 1px solid #ccc; padding: 10px; text-align: left;">Field</th> <th style="border: 1px solid #ccc; padding: 10px; text-align: left;">Value</th> </tr> <tr> <td style="border: 1px solid #ccc; padding: 10px;"><b>Refrigerator ID</b></td> <td style="border: 1px solid #ccc; padding: 10px;">{{data.refrigerator_id}}</td> </tr> <tr> <td style="border: 1px solid #ccc; padding: 10px;"><b>Brand</b></td> <td style="border: 1px solid #ccc; padding: 10px;">{{data.manufacturer}}</td> </tr> <tr> <td style="border: 1px solid #ccc; padding: 10px;"><b>Model</b></td> <td style="border: 1px solid #ccc; padding: 10px;">{{data.model_id}}</td> </tr> <tr> <td style="border: 1px solid #ccc; padding: 10px;"><b>Health Facility</b></td> <td style="border: 1px solid #ccc; padding: 10px;">{{data.facility_name}}</td> </tr> </table>
end screen
begin screen
|  | note |  |  | <div style="padding: 12px 16px; background-color: #e8f4fd; border-left: 5px solid #3498db; font-family: Arial, sans-serif; margin-bottom: 10px;"> <h2 style="margin: 0; color: #2980b9;">🔧 Instructions for Failure Analysis</h2> </div> <p style="font-family: Arial, sans-serif; font-size: 14px; line-height: 1.6; margin: 0 0 10px 0;"> A trained cold chain equipment technician—or another trained and qualified assessor—should complete this procedure and use this tool to: </p> <ul style="font-family: Arial, sans-serif; font-size: 14px; line-height: 1.6; padding-left: 20px; margin-top: 0;"> <li>Record observed failure(s), including the specific component(s) and suspected cause(s)</li> <li>Log any relevant performance data required during the assessment</li> <li>Note any additional observations that may assist in evaluating equipment status</li> </ul> <p style="font-family: Arial, sans-serif; font-size: 14px; line-height: 1.6; margin: 0;"> Please note: The detailed survey questions are provided to support troubleshooting and do <strong>not</strong> need to be completed in full. Use them as a reference and document only the data that helps with diagnosing or recording the issue. </p>
end screen
|  | note |  |  | <div style="padding: 15px; border-left: 5px solid #3498db; background-color: #f9fbfd; font-family: Arial, sans-serif;"> <h3 style="margin-top: 0; color: #2c3e50;">🔌 Power Supply System</h3> <p style="font-size: 16px; color: #34495e;">This section includes questions Q1–Q16 about the power supply system.</p> </div>
begin screen
|  | note |  |  | <div style="padding: 15px; border-left: 5px solid #3498db; background-color: #f9fbfd; font-family: Arial, sans-serif;"> <h3 style="margin-top: 0; color: #2c3e50;">🔌 Power Supply System</h3> <p style="font-size: 12px; color: #34495e;">Use this and the following sections to enter physical data and observations taken while troubleshooting the failure. You do not need to fill in each field, only those that you observe or record while troubleshooting.</p> </div>
|  | decimal |  | ac_voltage | 1. AC voltage as measured (volts) | [10 empty] | questions_screen
|  | decimal |  | ac_frequency | 2. AC frequency as measured (Hz) | [10 empty] | questions_screen
|  | decimal |  | appliance_ac_voltage | 3. Appliance AC voltage requirement (volts) | [10 empty] | questions_screen
|  | decimal |  | appliance_ac_frequency | 4. Appliance AC frequency requirement (Hz) | [10 empty] | questions_screen
|  | string |  | led_diagnostic_result | 5. LED diagnostic result (if applicable) | [10 empty] | questions_screen
|  | decimal |  | stabilizer_ac_voltage | 6. Voltage stabilizer AC voltage as measured (volts) | [10 empty] | questions_screen
|  | decimal |  | power_outlet_ac_voltage | 7. Wall power outlet AC voltage as measured (volts)
|  | decimal |  | dc_voltage | 8. DC voltage as measured (volts)
|  | decimal |  | appliance_dc_voltage | 9. Appliance DC voltage requirement (volts)
|  | decimal |  | open_circuit_voltage | 10. Open circuit voltage (volts)
if | data('power_source') === 'solar'
|  | decimal |  | irradiance_solar_array | 11. Irradiance at solar array (W/m2)
|  | select_one | severity | severity_solar_panels | 12. Soiling severity of solar panels
|  | select_one | orientation | current_orientation_solar_array | 13. Current orientation of solar array
|  | select_one | orientation | optimal_orientation_solar_array | 14. Optimal orientation of solar array
|  | decimal |  | current_tilt_solar_array | 15. Current tilt of the solar array, measured from the horizontal (°)
|  | decimal |  | optimal_tilt_solar_array | 16. Optimal tilt of the solar array, measured from the horizontal (°)
end if
end screen
|  | note |  |  | <div style="padding: 15px; border-left: 5px solid #27ae60; background-color: #f4fcf7; font-family: Arial, sans-serif;"> <h3 style="margin-top: 0; color: #2c3e50;">🌡️ Thermostat, Controls & Monitoring System</h3> <p style="font-size: 16px; color: #34495e;"> This section include questions Q17–Q24 about the thermostat, controls, and monitoring systems. </p> </div>
begin screen
|  | note |  |  | <div style="padding: 15px; border-left: 5px solid #27ae60; background-color: #f4fcf7; font-family: Arial, sans-serif;"> <h3 style="margin-top: 0; color: #2c3e50;">🌡️ Thermostat, Controls & Monitoring System</h3><p style="font-size: 12px; color: #34495e;">Use this and the following sections to enter physical data and observations taken while troubleshooting the failure. You do not need to fill in each field, only those that you observe or record while troubleshooting.</p> </div>
|  | decimal |  | thermocouple_reading_location | 17. Thermocouple reading at thermostat sensor location (°C)
|  | decimal |  | thermostat_setpoint | 18. Thermostat setpoint (°C or set position)
|  | select_one | location | thermostat_sensor_location | 19. Thermostat sensor: Location
|  | select_one | condensation | thermostat_sensor_exposure | 20. Thermostat sensor: Exposure to condensation buildup
|  | select_one | airflow | thermostat_sensor_airflow | 21. Thermostat sensor: Airflow
|  | decimal |  | thermocouple_reading_external | 22. Thermocouple reading at external display sensor location (°C)
|  | decimal |  | external_display_temperature | 23. External display temperature reading (°C)
|  | decimal |  | thermocouple_reading_compartment | 24. Thermocouple reading in center of compartment (°C)
end screen
|  | note |  |  | <div style="padding: 15px; border-left: 5px solid #1abc9c; background-color: #f0fdfa; font-family: Arial, sans-serif;"> <h3 style="margin-top: 0; color: #2c3e50;">❄️ Cooling Circuit</h3> <p style="font-size: 16px; color: #34495e;"> This section includes questions Q25-Q26 about the cooling circuit. </p> </div>
begin screen
|  | note |  |  | <div style="padding: 15px; border-left: 5px solid #1abc9c; background-color: #f0fdfa; font-family: Arial, sans-serif;"> <h3 style="margin-top: 0; color: #2c3e50;">❄️ Cooling Circuit</h3><p style="font-size: 12px; color: #34495e;">Use this and the following sections to enter physical data and observations taken while troubleshooting the failure. You do not need to fill in each field, only those that you observe or record while troubleshooting.</p> </div>
|  | select_one_with_other | fan_issues | fan_issues_observed | 25. Fan issues observed | [7 empty] | data('fan_issues_observed') != ' ' | Other field is empty. Please specify.
|  | decimal |  | compressor_discharge_pipe_temperature | 26. Compressor discharge pipe temperature (°C)
end screen
|  | note |  |  | <div style="padding: 15px; border-left: 5px solid #e67e22; background-color: #fef6f0; font-family: Arial, sans-serif;"> <h3 style="margin-top: 0; color: #2c3e50;">🧲 Seals and Closure</h3> <p style="font-size: 16px; color: #34495e;"> This section cover questions Q27-30 about seals and closures. </p> </div>
begin screen
|  | note |  |  | <div style="padding: 15px; border-left: 5px solid #e67e22; background-color: #fef6f0; font-family: Arial, sans-serif;"> <h3 style="margin-top: 0; color: #2c3e50;">🧲 Seals and Closure</h3><p style="font-size: 12px; color: #34495e;">Use this and the following sections to enter physical data and observations taken while troubleshooting the failure. You do not need to fill in each field, only those that you observe or record while troubleshooting.</p> </div>
|  | select_one | yesno | gaps_air_escape | 27. Are any gaps through which air could escape noticeable between the cabinet and the gasket on the door/lid?
|  | string |  | gasket_damage | 28. Describe any gasket damage/deterioration (including tears, missing pieces, deadhesion, looseness, wetness, or mold).
|  | decimal |  | gap_offset | 29. Gap offset (mm)
|  | string |  | hinge_degradation | 30. Describe any physical degradation of the hinges observed (including corrosion, cracking, or broken hinges).
end screen
|  | note |  |  | <div style="padding: 15px; border-left: 5px solid #8e44ad; background-color: #faf4fd; font-family: Arial, sans-serif;"> <h3 style="margin-top: 0; color: #2c3e50;">🧊 Thermal Storage</h3> <p style="font-size: 16px; color: #34495e;"> This section covers the components responsible for thermal storage from Q31-32. </p> </div>
begin screen
|  | note |  |  | <div style="padding: 15px; border-left: 5px solid #8e44ad; background-color: #faf4fd; font-family: Arial, sans-serif;"> <h3 style="margin-top: 0; color: #2c3e50;">🧊 Thermal Storage</h3><p style="font-size: 12px; color: #34495e;">Use this and the following sections to enter physical data and observations taken while troubleshooting the failure. You do not need to fill in each field, only those that you observe or record while troubleshooting.</p> </div>
|  | select_one | condition | thermal_storage_condition | 31. Is the thermal storage (e.g. ice liner) in good condition and in place?
if | selected(data('thermal_storage_condition'), 'No')
|  | select_multiple | issue | thermal_storage_issue | 32. What is wrong with the thermal storage?
end if
end screen
|  | note |  |  | <div style="padding: 15px; border-left: 5px solid #d35400; background-color: #fef4ec; font-family: Arial, sans-serif;"> <h3 style="margin-top: 0; color: #2c3e50;">📦 Casing and Storage Compartment</h3> <p style="font-size: 16px; color: #34495e;"> This section focuses on inspecting the physical casing and internal storage areas of the equipment in Q33. </p> </div>
begin screen
|  | note |  |  | <div style="padding: 15px; border-left: 5px solid #d35400; background-color: #fef4ec; font-family: Arial, sans-serif;"> <h3 style="margin-top: 0; color: #2c3e50;">📦 Casing and Storage Compartment</h3><p style="font-size: 12px; color: #34495e;">Use this and the following sections to enter physical data and observations taken while troubleshooting the failure. You do not need to fill in each field, only those that you observe or record while troubleshooting.</p> </div>
|  | decimal |  | condensation_depth | 33. Depth of condensation buildup (cm)
end screen
|  | note |  |  | <div style="padding: 15px; border-left: 5px solid #16a085; background-color: #f0fbf9; font-family: Arial, sans-serif;"> <h3 style="margin-top: 0; color: #2c3e50;">🌍 Location and External Environment</h3> <p style="font-size: 16px; color: #34495e;"> This section assesses the placement of the equipment and its surrounding conditions in Q 34-35. </p> </div>
begin screen
|  | note |  |  | <div style="padding: 15px; border-left: 5px solid #16a085; background-color: #f0fbf9; font-family: Arial, sans-serif;"> <h3 style="margin-top: 0; color: #2c3e50;">🌍 Location and External Environment</h3><p style="font-size: 12px; color: #34495e;">Use this and the following sections to enter physical data and observations taken while troubleshooting the failure. You do not need to fill in each field, only those that you observe or record while troubleshooting.</p> </div>
|  | decimal |  | ambient_temperature | 34. Ambient temperature (°C)
|  | decimal |  | relative_humidity | 35. Relative humidity (%)
end screen
|  | linked_table | linked_failure_reporting |  | <div style="padding: 12px 16px; background-color: #fdecea; border-left: 5px solid #e74c3c; font-family: Arial, sans-serif; margin-bottom: 10px;"> <h2 style="margin: 0; color: #c0392b;">🚨 Failure Reporting</h2> </div>
|  | linked_table | linked_non_failure_observations |  | <div style="padding: 12px 16px; background-color: #f1f9f4; border-left: 5px solid #27ae60; font-family: Arial, sans-serif; margin-bottom: 10px;"> <h2 style="margin: 0; color: #2e7d32;">📝 Non-Failure Observations</h2> <p style="font-size: 16px; color: #34495e;">Enter any issues or concerns noted with the appliance that are not failures.</p> </div>
|  | note |  |  | Survey completed. Pressing NEXT will save and exit.

## model
type | name | isSessionVariable
string | refrigerator_id
string | model_id
string | manufacturer
string | facility_name
birthdate | tfa_date
string | tfa_uuid
string | power_source

## choices
choice_list_name | data_value | display.title.text | display.title.text.es | display.title.text.fr
yesno | Yes | Yes
yesno | No | No
severity | None | None
severity | Moderate | Moderate
severity | Extreme | Extreme
orientation | North | North
orientation | South | South
orientation | East | East
orientation | West | West
orientation | Northwest | Northwest
orientation | Northeast | Northeast
orientation | Southwest | Southwest
orientation | Southeast | Southeast
location | Bottom | Bottom
location | Walls | Walls
location | Top | Top
location | Other | Other
condensation | None | None
condensation | Moderate | Moderate
condensation | Extreme | Extreme
airflow | Poor | Poor
airflow | Satisfactory | Satisfactory
airflow | Excellent | Excellent
fan_issues | None | None
fan_issues | Not rotating | Not rotating
fan_issues | Rotating in wrong direction | Rotating in wrong direction
fan_issues | Damage | Damage
condition | Yes | Yes
condition | No | No
condition | Unknown | Unknown
condition | Not applicable (this refrigerator is not designed to operate with an ice liner) | Not applicable (this refrigerator is not designed to operate with an ice liner)
issue | Missing water packs | Missing water packs
issue | Needs more water or PCM | Needs more water or PCM
issue | Liner not fully frozen | Liner not fully frozen

## queries
query_name | query_type | linked_form_id | linked_table_id | selection | selectionArgs | newRowInitialElementKeyToValueMap | openRowInitialElementKeyToValueMap
linked_failure_reporting | linked_table | failure_reporting | failure_reporting | tfa_uuid = ? | [ data('tfa_uuid') ] | {tfa_uuid: data('tfa_uuid')} | {}
linked_non_failure_observations | linked_table | non_failure_observations | non_failure_observations | tfa_uuid = ? | [ data('tfa_uuid') ] | {tfa_uuid: data('tfa_uuid')} | {}

## settings
setting_name | value | display.title.text | display.title.text.es | display.title.text.fr | display.locale.text | display.locale.text.es | display.locale.text.fr
form_id | troubleshooting_failure_analysis
table_id | troubleshooting_failure_analysis
survey |  | Troubleshooting Failure Analysis
form_version | 20250605
instance_name | tfa_date
english |  |  |  |  | English | Inglés | Anglais
es |  |  |  |  | Spanish | Español | Espagnol
fr |  |  |  |  | French | Francés | Français

## properties
partition | aspect | key | type | value
Table | default | defaultViewType | string | LIST
Table | default | detailViewFileName | string | config/tables/troubleshooting_failure_analysis/html/troubleshooting_failure_analysis_detail.html
Table | default | listViewFileName | string | config/tables/troubleshooting_failure_analysis/html/troubleshooting_failure_analysis_list.html
Table | security | unverifiedUserCanCreate | boolean | false
Table | security | defaultAccessOnCreation | string | HIDDEN
FormType | default | FormType.formType | string | SURVEY
SurveyUtil | default | SurveyUtil.formId | string | wrong_form