## survey
comments | clause | condition | type | values_list | name | display.prompt.text | display.title.text | display.hint.text | hideInContents | choice_filter | calculation | required
begin screen
|  |  | text |  | evaluator_name | Name of the Evaluator:
|  |  | date |  | date | Date:
|  |  | text |  | inspection_co_name | Inspection Company Name:
end screen
begin screen
|  |  | text |  | country | Country:
|  |  | text |  | region | Region:
|  |  | text |  | district | District:
|  |  | text |  | locality | Locality:
end screen
begin screen
|  |  | geopoint |  | gps_coordinates | GPS coordinates:
|  |  | text |  | name_of_site | Name of the site:
|  |  | text |  | name_of_responsible_person | Name of the person responsible at Health Facility:
|  |  | text |  | position_of_responsible_person | Position / role of person responsible at the facility:
|  |  | text |  | address | Address:
end screen
begin screen
|  |  | text |  | cce_type | CCE type:(select dropdown)
|  |  | text |  | cce_brand | CCE brand:
|  |  | text |  | cce_model_pqs_code | CCE model/PQS Code:
end screen
begin screen
|  |  | text |  | serial_no | Serial no. :
|  |  | text |  | name_of_installer | Name of installer:
end screen
begin screen
|  |  | date |  | delivery_date | Delivery date:
|  |  | date |  | installation_date | Installation date:
|  |  | select_one | yes_no | is_site_as_per_odp | Is the site as per the ODP?
| if | selected(data('is_site_as_per_odp'), 'no')
|  |  | text |  | if_no_justification | If not, what is the justification for change:
end if
|  |  | date |  | install_signoff_date | Installation signoff date:
end screen
begin screen
|  |  | select_one | yes_no | boxes_opened_by_authorized_person | Were the boxes opened by the local agent technicians in the presence of Health Facility representatives / authorized person to check the correct and complete delivery of all items based on the packing lists?
|  |  | select_one | yes_no | equipment_had_data_plate | Did the equipment have with It, a data plate indicating the model, serial number and vaccine storage capacity?
|  |  | image |  | data_plate_image | Take picture
|  |  | select_one | yes_no | signed_by_authority | Was the reception form or way bill signed by the Health Facility authority?
|  |  | image |  | signed_by_image | Take picture
end screen
begin screen
|  |  | select_one | yes_no | is_cce_installed | Is the CCE installed in a horizontal position and stable? Verify with level.
|  |  | image |  | cce_installed_image | Take picture
|  |  | select_one | yes_no | immunization_staff_available | Were the immunization staff at the Health Facility available during the installation?
|  |  | integer |  | how_many_staff_present | How many staff were present during the installation?
end screen
begin screen
|  |  | select_one | yes_no | have_copy_of_signed_annex_e | Does the Health Facility have a copy of the Signed Annex E (Installation Checklist)?
| if | selected(data('have_copy_of_signed_annex_e'), 'yes')
|  |  | image |  | signed_annex_e_image | Take picture
end if
|  |  | select_one | yes_no | have_copy_of_func_test | Does the Health Facility have a copy of the Functionality Test (from the local service provider)?
| if | selected(data('have_copy_of_func_test'), 'yes')
|  |  | image |  | func_test_image | Take picture
end if
end screen
begin screen
|  |  | text |  | cce_installed_location | Where is the CCE installed? (name the room in facility)
|  |  | integer |  | installation_duration_hrs | How much time did it take for the installation(hours)?
end screen
begin screen
|  |  | select_one | yes_no | cce_equipped_standard_plug | Is the CCE equipped with the country standard plug ?
|  |  | image |  | standard_plug_image | Take picture
|  |  | select_one | yes_no | cce_installed_according_to_manual | Is the CCE installed according to the manufacturer's installation manual?(verify with Manufacturer Manual)
end screen
begin screen
|  |  | select_one | yes_no | voltage_regulator_installed_per_inst | Is the voltage regulator installed as per manufacturer instructions ?(verify with stabilizer manual)
|  |  | select_one | yes_no | voltage_regulator_functional | Is the voltage regulator functional (eg. are the pilot lights or volt meters functional ?)
|  |  | image |  | voltage_regulator_image | Take picture
end screen
begin screen
|  |  | select_one | yes_no | solar_panels_installed_as_planned | Were the Solar panels installed as planned (pole, ground or roof)?
|  |  | select_one | yes_no | solar_panels_installed_per_inst | Are the Solar panels installed as per manufacturer instructions? (Eg. No shadow from trees or nearby buildings)
|  |  | image |  | solar_panels_installed_image | Take picture
end screen
begin screen
|  |  | select_one | yes_no | support_material_per_instructions | Is the material for the support structure, as per the manufacturer instructions?
| if | selected(data('support_material_per_instructions'), 'no')
|  |  | text |  | if_not_specify_material_used | If not, specify the type of material used
end if
end screen
begin screen
|  |  | select_one | yes_no | panels_orient_per_instr | Are the panels' orientation and angle as per manufacturer instructions?
|  |  | image |  | panels_orient_image | Take picture
|  |  | integer |  | angle_of_inclination | Indicate angle of inclination
|  |  | integer |  | angle_of_orientation | Indicate angle of orientation
end screen
begin screen
|  |  | select_one | yes_no | panel_cabling_properly_installed | Is the cabling from the panels to the CCE, properly installed / affixed to the wall as per the installation guidelines?
|  |  | image |  | panel_cabling_image | Take picture
|  |  | select_one | yes_no | cables_protected | Are the cables protected? (protected with trunking cables etc.)
|  |  | image |  | cables_protected_image | Take picture
end screen
begin screen
|  |  | select_one | yes_no | is_grounding_properly_installed | Is the lightening arrester / grounding properly installed as per supplier installation instructions?
|  |  | image |  | grounding_image | Take picture
|  |  | select_one | yes_no | anti_theft_installed_per_inst | Has the anti-theft device or mechansim been installed, according to the installation instructions?
|  |  | image |  | anti_theft_image | Take picture
end screen
begin screen
|  |  | select_one | yes_no | panels_accesible_for_cleaning | Are the panels easly accessible for the purpose of cleaning?
|  |  | image |  | panels_accesible_image | Take picture
|  |  | select_one | yes_no | cleaning_equipment_available | Is there equipment available for the purpose of cleaning the solar panel ? (such as mop, ladder, etc.)
|  |  | select_one | yes_no | temp_monitoring_supplier_provided | Is the temperature monitoring device (30 DTR / RTMD/ Both) provided by the supplier?
|  |  | image |  | temp_monitoring_image | Take picture
end screen
begin screen
|  |  | text |  | temp_monitoring_type | What type(s) of temperature monitoring device is available (30 DTR / RTMD/ Both)?
|  |  | select_one | yes_no | installer_activated_temp_mon_thirty_days | Has the installer activated the temperature monitoring device in the case of 30 DTR?
|  |  | select_one | yes_no | temp_monitoring_functioning | Is the temperature monitoring device functioning correctly?
end screen
begin screen
|  |  | select_one | yes_no | user_demonstrate_read_temp_dev | Can the user demonstrate the ability to correctly read the temperature recording device, including alarms?
|  |  | select_one | yes_no | alarm_last_thirty_days | Has there been any alarm recorded during the last 30 days?
| if | selected(data('alarm_last_thirty_days'), 'yes')
|  |  | integer |  | if_alarm_heat_number | If so, please indicate, the number of heat alarm(s)
|  |  | integer |  | if_alarm_freeze_number | If so, please indicate, the number of freeze alarm(s)
end if
end screen
begin screen
|  |  | select_one | yes_no | cce_operating_correctly | Is the CCE operating correctly as per manufacturer instructions?(e.g. +2 to +8 degrees C, Correct color of indicator lights, smooth compressor sounds etc .)
|  |  | image |  | cce_operating_image | Take picture
end screen
begin screen
|  |  | note |  | cce_note | If the CCE is not operating correctly, please answer questions pertaining to 8.2 to indicate which aspects of the CCE are not fuctional:
|  |  | note |  | power_note | Power related failure( Please choose the applicable one):
|  |  | select_one | yes_no | mains_powered_cce | Mains Powered CCE?
|  |  | image |  | mains_powered_cce_image | Take picture
|  |  | select_one | yes_no | sdd_cce | SDD CCE?
|  |  | image |  | sdd_cce_image | Take picture
|  |  | select_one | yes_no | faulty_component | Faulty component?
|  |  | image |  | faulty_component_image | Take picture
|  |  | select_one | yes_no | user_related_failure | User related failure (Improper usage)?
|  |  | image |  | user_related_failure_image | Take picture
end screen
begin screen
|  |  | select_one | yes_no | tech_train_personnel_on_site | Did the installation technician train the personnel on site?
| if | selected(data('tech_train_personnel_on_site'), 'no')
|  |  | text |  | no_tech_training_reason | If not, give reason
end if
|  |  | integer |  | number_of_trained_users | Please specify the number of users trained?
|  |  | select_one | yes_no | training_on_same_day_as_install | Was the training at the Health Facility conducted on the same day as the installation?
|  |  | integer |  | training_duration_hrs | Please specify the duration of the training (hours)?
end screen
begin screen
|  |  | note |  | training_note | Did the training at Health Facility level include :
|  |  | select_one | yes_no | basic_handling_training | a. Basic handling?
|  |  | select_one | yes_no | user_level_maint_training | b. User level maintenance?
|  |  | select_one | yes_no | temp_monitor_record_training | d. Monitoring and recording of temperature?
|  |  | select_one | yes_no | malfunction_proc_training | e. Procedures to follow in case of malfunction / breakdown?
end screen
begin screen
|  |  | select_one | yes_no | training_materials_provided | Was any reference material such as leaflet or presentation provided to the Health Facility staff?
|  |  | select_one | yes_no | user_guideline_on_cover | Is a picturial user guideline available on the cover?
|  |  | image |  | user_guideline_on_cover_image | Take picture
end screen
begin screen
|  |  | note |  | installer_note | Did the installer supply the following manuals:
|  |  | select_one | yes_no | user_manual_supplied | Users Manuel?
|  |  | select_one | yes_no | maint_guide_supplied | Maintenance guide?
|  |  | select_one | yes_no | malfunction_template_supplied | Template to report a malfunction / breakdown?
|  |  | image |  | malfunction_template_supplied_image | Take picture
end screen
|  |  | select_one | yes_no | manuals_available_in_un_lang | Are all manuals available in the agreed UN languages ? (e.g. English, French, Spanish, Arabic etc.)

## choices
choice_list_name | data_value | display.title.text
yes_no | yes | Yes
yes_no | no | No

## settings
setting_name | value | display.title.text | display.locale.text
form_id | checklist
table_id | checklist
form_version | 20181120
survey |  | Checklist